## CPUT Poultry Project 2020 (2)
Sampling Point | Sampled Date | Alkalinity (mg/L) | BOD (mg/L) | COD (mg/L) | Fats (mg/L) | Suspended Solids 105 C (mg/L) | Total Dissolved Solids (mg/L) | WEEKS | COD% | FOG% (PRE-TREATMENT) | TDS | TSS | BOD% | ALK | Overall | ORL | TDS
CPUT_RAW_POULTRY_EFF | 2020-01-30 13:06 | 488 | - | 2447 | 24 | 280 | 883
CPUT_BIOERG_SGBR | 2020-01-17 12:00 | 971 | - | 1031 | 9 | 56 | 1006 | 1 week JAN | 79.2482 | 0 |  | 92.2222 |  |  |  |  | TDS In (mg/L) | TDS Out (mg/L)
CPUT_BIOERG_PRETREAT | 2020-01-17 12:00 | 832 | - | 1667 | 16 | 720 | 1106 | 1 week JAN | 66.4469 | 96.6316 | [6 empty] | 1006 | 1106
CPUT_BIOERG_SGBR | 2020-01-24 12:00 | 940 | - | 450 | 26 | 58 | 884 | 2 week JAN | 90.9425 |  |  | 91.9444
CPUT_BIOERG_PRETREAT | 2020-01-24 12:00 | 882 | - | 1450 | 27 | 80 | 1078 | 2 week JAN | 70.8147 | 94.3158 | [6 empty] | 1078 | 884
CPUT_BIOERG_SGBR | 2020-01-31 12:00 | 940 | - | 358 | 8 | 42 | 834 | 3 week JAN | 92.7942 |  |  | 93.8235
CPUT_BIOERG_PRETREAT | 2020-01-31 12:00 | 869 | - | 881 | 27 | 184 | 916 | 3 week JAN | 82.2674 | 94.3158 | [6 empty] | 916 | 834
CPUT_BIOERG_SGBR | 2020-02-01 12:00 | 812 | - | 1374 | 11 | 13 | 870 | 4 week FEB | 72.3444 |  |  | 98.0882
CPUT_BIOERG_PRETREAT | 2020-02-01 12:00 | 496 |  | 1754 | 157 | 680 | 950 | 4 week FEB | 64.6958 | 89.3775 | [6 empty] | 950 | 870
CPUT_BIOERG_PRETREAT | 2020-01-31 12:00 | 462 | - | 3613 | 33 | 348 | 1226
CPUT_BIOERG_SGBR | 2020-01-31 12:00 | 490 | - | 1174 | 25 | 162 | 1140
CPUT_BIOERG_PRETREAT | 2020-02-05 12:00 | 816 | - | 1843 | 79 | 292 | 982
CPUT_BIOERG_SGBR | 2020-02-05 12:00 | 965 | - | 1176 | 17 | 148 | 956
CPUT_BIOERG_PRETREAT | 2020-02-11 12:07 | 264 | 2000 | 3525 | 135 | 940 | 1268 | 5 week FEB | 64.2132 | 71.5789 | [6 empty] | 1268 | 1132
CPUT_BIOERG_SGBR | 2020-02-11 12:07 | 702 | 875 | 1739 | 8 | 88 | 1132 | 5 week FEB | 82.3452 |  |  | 90.6383
CPUT_BIOERG_PRETREAT | 2020-02-18 12:07 | 479 | 2875 | 4946 | 370 | 1173 | 1422 | 6 week FEB | 49.7868 | 74.9662 | [6 empty] | 1422 | 1098
CPUT_BIOERG_SGBR | 2020-02-18 12:07 | 789 | 1875 | 3080 | 258 | 700 | 1098 | 6 week FEB | 68.731 |  |  | 79.0732
CPUT_BIOERG_PRETREAT | 2020-02-25 12:07 | 773 | 1600 | 3096 | 102 | 460 | 1340 | 7 week FEB | 68.5685 | 93.0988 | [6 empty] | 1340 | 1268
CPUT_BIOERG_SGBR | 2020-02-28 12:00 | 488 | - | 2463 | 84 | 258 | 1268 | 7 week FEB | 74.9949 |  |  | 92.287
CPUT RAW | 2020-03-02 12:00 | 479 | 7000 | 9850 | 1478 | 2650 | 1528
CPUT_BIOERG_SGBR | 2020-03-06 12:00 | 666 | 1125 | 1510 | 39 | 196 | 1096 | 8 week MAR | 84.6701 |  |  | 83.2907
CPUT_BIOERG_PRETREAT | 2020-03-09 12:10 | 801 | 1250 | 2385 | 55 | 480 | 1212 | 8 week MAR | 75.7868 | 88.4211 | [6 empty] | 1212 | 1096
CPUT_RAW_POULTRY_EFF | 2020-03-16 12:00 | 1019 | 2500 | 4092 | 16 | 125 | 2690
CPUT_BIOERG_PRETREAT | 2020-03-16 12:00 | 993 | 1600 | 2324 | 79 | 450 | 1156 | 9 week MAR | 76.4061 | 83.3684 | [6 empty] | 1156 | 1132
CPUT_BIOERG_SGBR | 2020-03-20 08:00 | 824 | 1500 | 2137 | 37 | 360 | 1132 | 9 week MAR | 78.3046 |  |  | 89.2377
CPUT_RAW_POULTRY_EFF | 2020-03-26 12:00 | 1005 | 2500 | 3484 | 382 | 1160 | 1683
CPUT_BIOERG_PRETREAT | 2020-03-31 12:00 | 944 | 1715 | 2015 | 210 | 795 | 1054 | 10 week MAR | 79.5431 | 85.7916 | [6 empty] | 1054 | 809
CPUT_BIOERG_SGBR | 2020-03-31 12:00 | 911 | 1325 | 1547 | 118 | 402 | 809 | 10 week MAR | 84.2944 |  |  | 87.9821
RAW 06/04 PRE-TREATMENT | 2020-04-06 12:00 | 678 | 1274 | 3080 | 196 | 198 | 730 | 11 week APR | 68.731 | 86.7388 | [6 empty] | 730 | 698
CPUT_BIOERG_SGBR | 2020-04-06 12:07 | 1006 | 1075 | 1638 | 58 | 56 | 698 | 11 week APR | 83.3706 |  |  | 71.7172
RAW 15/4 PRE-TREATMENT | 2020-04-15 12:07 | 462 | - | 3613 | 33 | 348 | 1226 | 12 week APR | 63.3198 | 93.0526 | [6 empty] | 1226 | 1140
CPUT_BIOERG_SGBR | 2020-04-15 12:07 | 490 | - | 1174 | 25 | 162 | 1140 | 12 week APR | 88.0812 |  |  | 95.157
RAW 23/4 PRE-TREATMENT | 2020-04-23 12:07 | 816 | - | 1843 | 79 | 292 | 982 | 13 week APR | 81.2893 | 83.3684 | [6 empty] | 982 | 511
CPUT_BIOERG_SGBR | 2020-04-23 12:07 | 939 |  | 703 | 70 | 200 | 511 | 13 week APR | 92.8629 |  |  | 94.0209
RAW 13/4 PRE-TREATMENT | 2020-04-29 12:07 | LOCK DOWN | LOCK DOWN | LOCK DOWN | LOCK DOWN | LOCK DOWN | LOCK DOWN | 14 week APR
CPUT_BIOERG_SGBR | 2020-04-29 12:07 | [6 empty] | 14 week APR
RAW 13/4 PRE-TREATMENT | 2020-05-04 12:07 | 930 |  | 1228 | 90 | 384 | 956 | 15 week MAY | 87.533 | 81.0526 | [6 empty] | 956 | 858
CPUT_BIOERG_SGBR | 2020-05-04 12:07 | 965 |  | 1176 | 17 | 148 | 858 | 15 week MAY | 88.0609 |  |  | 95.5755
RAW 13/4 PRE-TREATMENT | 2020-05-13 12:07 | 816 |  | 1868 | 196 | 113 |  | 16 week MAY | 81.0355 | 86.7388 | [6 empty] | 1137 | 956
CPUT_BIOERG_SGBR | 2020-05-13 12:07 | 974 |  | 995 | 56 | 100 | 1137 | 16 week MAY | 89.8985 |  |  | 97.0105
RAW 13/4 PRE-TREATMENT | 2020-05-20 12:07 | 965 |  | 1785 | 104 | 198 | 888 | 17 week MAY | 81.8782 | 92.9635
CPUT_BIOERG_SGBR | 2020-05-20 12:07 | 1048 |  | 825 | 52 | 152 | 633 | 17 week MAY | 91.6244 |  |  | 95.4559 |  |  |  |  | 888 | 633
RAW 13/4 PRE-TREATMENT | 2020-05-23 12:07 | 395 |  | 1471 | 50 | 192 | 554 | 18 week MAY | 85.066 | 89.4737
CPUT_BIOERG_SGBR | 2020-05-23 12:07 | 854 |  | 709 | 49 | 112 | 499 | 18 week MAY | 92.802 |  |  | 96.6517 |  |  |  |  | 554 | 499
E21 or D51 | AVG RAW FED COD | AVG | 4968.25
Overall Removal range
D53 OR F21 | AVG FATS | AVG | 475 | [5 empty] | Raw PSW feed | Fed to SGBR
[8 empty] | COD | 4968.25
D55 | AVG TSS | AVG | 3345 |  |  |  |  | TSS | 1053.75
[8 empty] | FOG | 1478 | 475
| BOD Removal | AVG | 7333.3333
|  |  |  | Weeks | BOD5% Removal
|  |  |  | 1 | 72.7273
|  |  |  | 2 | 60.7955
|  |  |  | 3 | 78.1818
|  |  |  | 4 | 82.9545
|  |  |  | 5 | 78.1818
|  |  |  | 6 | 76.6136
|  |  |  | 7 | 82.6273
Biogas production | days | CH4 production
| 0 | 71
| 30 | 71
Biogas production
|  | Methane gas production | Operational Time (days) |  | Methane gas production
|  | 71 | 0 |  | 71
|  | 0 | 30 |  | 0
|  | 0 | 60 |  | 0
|  | 0 | 90 |  | 0
|  | 0 | 120 |  | 0
|  | 0 | 150 |  | 0

## CPUT Poultry Project 2020
Sampling Point | Sampled Date | Alkalinity (mg/L) | BOD (mg/L) | COD (mg/L) | Fats (mg/L) | Suspended Solids 105 C (mg/L) | Total Dissolved Solids (mg/L) | COD EGSB | TSS EGSB
CPUT_RAW_POULTRY_EFF | 2020-01-30 13:06 | 488 | - | 2447 | 24 | 280 | 883
CPUT_BIOERG_EGSB | 2020-01-17 12:00 | 988 | - | 1223 | 22 | 476 |  | 1869.5 | 264.25
CPUT_BIOERG_SGBR | 2020-01-17 12:00 | 971 | - | 1031 | 9 | 56 | 1106
CPUT_BIOERG_PRETREAT | 2020-01-17 12:00 | 832 | - | 1667 | 16 | 720 | 1006
CPUT_BIOERG_EGSB | 2020-01-24 12:00 | 965 | - | 809 | 104 | 176
CPUT_BIOERG_SGBR | 2020-01-24 12:00 | 940 | - | 450 | 27 | 58 | 884
CPUT_BIOERG_PRETREAT | 2020-01-24 12:00 | 882 | - | 1450 | 26 | 80 | 1078
CPUT_BIOERG_EGSB | 2020-01-31 12:00 | 939 | - | 395 | 4 | 14
CPUT_BIOERG_SGBR | 2020-01-31 12:00 | 940 | - | 358 | 27 | 42 | 834
CPUT_BIOERG_PRETREAT | 2020-01-31 12:00 | 869 | - | 881 | 8 | 184 | 916
CPUT_BIOERG_EGSB | 2020-02-01 12:00 | 749 | - | 961 | 5 | 100
CPUT_BIOERG_SGBR | 2020-02-01 12:00 | 812 | - | 1754 | 357 | 680 | 870
CPUT_BIOERG_PRETREAT | 2020-02-01 12:00 | 496 | - | 1374 | 11 | 13 | 950
CPUT_BIOERG_PRETREAT | 2020-01-31 12:00 | 462 | - | 1174 | 25 | 348 | 1226
CPUT_BIOERG_SGBR | 2020-01-31 12:00 | 490 | - | 3613 | 33 | 162 | 1140
CPUT_BIOERG_EGSB | 2020-01-31 12:00 | 492 | - | 3452 | 5 | 150
CPUT_BIOERG_PRETREAT | 2020-02-05 12:00 | 816 | - | 1176 | 17 | 292 | 982
CPUT_BIOERG_SGBR | 2020-02-05 12:00 | 965 | - | 1843 | 79 | 148 | 956
CPUT_BIOERG_EGSB | 2020-02-05 12:00 | 926 | - | 1988 | 31 | 126
CPUT_BIOERG_PRETREAT | 2020-02-11 12:07 | 264 | 2000 | 3525 | 135 | 940 | 1268
CPUT_BIOERG_EGSB | 2020-02-11 12:07 | 770 | 625 | 1556 | 5 | 78
CPUT_BIOERG_SGBR | 2020-02-11 12:07 | 702 | 875 | 1739 | 8 | 88 | 1132
CPUT_BIOERG_PRETREAT | 2020-02-18 12:07 | 479 | 2875 | 4946 | 370 | 1173 | 1422
CPUT_BIOERG_EGSB | 2020-02-18 12:07 | 815 | 1500 | 2602 | 129 | 450
CPUT_BIOERG_SGBR | 2020-02-18 12:07 | 789 | 1875 | 3080 | 258 | 700 | 1098
CPUT_BIOERG_PRETREAT | 2020-02-25 12:07 | 773 | 1600 | 3096 | 84 | 460 | 1340
CPUT_BIOERG_SGBR | 2020-02-28 12:00 | 488 | - | 2463 | 102 | 258 | 1268
CPUT_BIOERG_EGSB | 2020-02-28 12:00 | 496 | 750 | 2438 | 141 | 328
CPUT_BIOERG_PRETREAT | 2020-03-02 12:00 | 479 | 7000 | 9850 | 1478 | 2650 | 1528
CPUT_BIOERG_SGBR | 2020-03-06 12:00 | 666 | 1125 | 1510 | 39 | 196 | 1096
CPUT_BIOERG_EGSB | 2020-03-06 12:00 | 570 | 1000 | 1809 | 86 | 308
CPUT_BIOERG_PRETREAT | 2020-03-09 12:10 | 801 | 1250 | 2385 | 55 | 480 | 1212
CPUT_RAW_POULTRY_EFF | 2020-03-16 12:00 | 1019 | 2500 | 4092 | 16 | 125 | 2690
CPUT_BIOERG_PRETREAT | 2020-03-16 12:00 | 993 | 1600 | 2324 | 79 | 450 | 1132
CPUT_BIOERG_SGBR | 2020-03-20 08:00 | 824 | 1500 | 2137 | 37 | 360 | 1156
CPUT_BIOERG_EGSB | 2020-03-20 08:00 | 880 | 875 | 1858 | 71 | 350
CPUT_BIOERG_SND_EGSB | 2020-03-18 08:00 | 105 | 250 | 781 | 2 | 56
CPUT_BIOERG_SND_SGBR | 2020-03-18 08:00 | 124 | - | 282 | 23 | 48
Biogas production | days | CH4 production
| 0 | 71
| 30 | 71
Biogas production
|  | Methane gas production | Operational Time (days) |  | Methane gas production
|  | 71 | 0 |  | 71
|  | 0 | 30 |  | 0
|  | 0 | 60 |  | 0
|  | 0 | 90 |  | 0
|  | 0 | 120 |  | 0
|  | 0 | 150 |  | 0

## PRE-TREATMENT
Sampling Point | Sampled Date | Alkalinity (mg/L) | BOD (mg/L) | COD (mg/L) | Fats (mg/L) | Suspended Solids 105 C (mg/L) | Total Dissolved Solids (mg/L)
CPUT_RAW_POULTRY_EFF | 2020-01-30 | 488 | - | 2447 | 24 | 280 | 883
CPUT_BIOERG_PRETREAT | 2020-01-17 | 832 | - | 1667 | 16 | 720 | 1106
CPUT_BIOERG_PRETREAT | 2020-01-24 12:00 | 882 | - | 1450 | 27 | 80 | 1078
CPUT_BIOERG_PRETREAT | 2020-01-31 12:00 | 869 | - | 881 | 27 | 184 | 916
CPUT_BIOERG_PRETREAT | 2020-02-01 12:00 | 496 | 0 | 1754 | 157 | 680 | 950
CPUT_BIOERG_PRETREAT | 2020-01-31 12:00 | 462 | - | 3613 | 33 | 348 | 1226
CPUT_BIOERG_PRETREAT | 2020-02-05 12:00 | 816 | - | 1843 | 79 | 292 | 982
CPUT_BIOERG_PRETREAT | 2020-02-11 12:07 | 264 | 2000 | 3525 | 135 | 940 | 1268
CPUT_BIOERG_PRETREAT | 2020-02-18 12:07 | 479 | 2875 | 4946 | 370 | 1173 | 1422
CPUT_BIOERG_PRETREAT | 2020-02-25 12:07 | 773 | 1600 | 3096 | 102 | 460 | 1340
CPUT RAW | 2020-03-02 12:00 | 479 | 7000 | 9850 | 1478 | 2650 | 1528
CPUT_BIOERG_PRETREAT | 2020-03-09 12:10 | 801 | 1250 | 2385 | 55 | 480 | 1212
CPUT_RAW_POULTRY_EFF | 2020-03-16 12:00 | 1019 | 2500 | 4092 | 16 | 125 | 2690
CPUT_BIOERG_PRETREAT | 2020-03-16 12:00 | 993 | 1600 | 2324 | 79 | 450 | 1156
| Range |  |  |  | 1478 -
ALL IN ONE GRAPH PLOT (COD, TSS, FOG
|  | SGBR |  |  | PRE-TREATMENT |  |  | 1478mg/l - 475 mg/l |  | FOG% Removal efficiency |  |  |  | PRE-TREATMENT |  |  |  | WEEKS | OLR (g COD/L.day) | COD% Removal | TSS % Removal | FOG % Removal
|  | COD% | WEEKS | WEEKS | COD% | BOD5 % Removal |  |  | WEEKS | FOG% Removal efficiency | FOG Out-put (mg/L) | In-put mg/L | WEEKS | BOD5 % Removal | BOD In-put (mg/L) | BOD5 Out-put (mg/L) | COD% Removal
| 1 | 79.2482 | 1 week JAN | [5 empty] | 1 | 96.6316 | 16 | 475 | [5 empty] | 1 | 8 | 66.4469 | 92.2222 | 96.6316
|  |  | 1 week JAN | 1 | 66.4469 | 72.7273 | [6 empty] | 1 | 72.7273 | 7333.33 | 2000 | 66.4469
| 2 | 90.9425 | 2 week JAN | [5 empty] | 2 | 94.3158 | 27 | 475 | [5 empty] | 2 | 6 | 70.8147 | 91.9444 | 94.3158
|  |  | 2 week JAN | 2 | 70.8147 | 60.7955 | [6 empty] | 2 | 60.7955 | 7333.33 | 2875 | 70.8147
| 3 | 92.7942 | 3 week JAN | [5 empty] | 3 | 94.3158 | 27 | 475 | [5 empty] | 3 | 9 | 82.2674 | 93.8235 | 94.3158
|  |  | 3 week JAN | 3 | 82.2674 | 78.1818 | [6 empty] | 3 | 78.1818 | 7333.33 | 1600 | 82.2674
| 4 | 72.3444 | 4 week FEB | [5 empty] | 4 | 89.3775 | 11 | 475 | [5 empty] | 4 | 7 | 64.6958 | 98.0882 | 89.3775
|  |  | 4 week FEB | 4 | 64.6958 | 82.9545 | [6 empty] | 4 | 82.9545 | 7333.33 | 1250 | 64.6958
| 5 | 82.3452 | 5 week FEB | [5 empty] | 5 | 71.5789 | 135 | 475 | [5 empty] | 5 | 8 | 64.2132 | 90.6383 | 71.5789
|  |  | 5 week FEB | 5 | 64.2132 | 78.1818 | [6 empty] | 5 | 78.1818 | 7333.33 | 1600 | 64.2132
| 6 | 68.731 | 6 week FEB | [5 empty] | 6 | 74.9662 | 370 | 1478 | [5 empty] | 6 | 9 | 49.7868 | 79.0732 | 74.9662
|  |  | 6 week FEB | 6 | 49.7868 | 76.6136 | [6 empty] | 6 | 76.6136 | 7333.33 | 1715 | 49.7868
| 7 | 74.9949 | 7 week FEB | [5 empty] | 7 | 93.0988 | 102 | 1478 | [5 empty] | 7 | 8 | 68.5685 | 92.287 | 93.0988
|  |  | 7 week FEB | 7 | 68.5685 | 82.6273 | [6 empty] | 7 | 82.6273 | 7333.33 | 1274 | 68.5685
| 8 | 84.6701 | 8 week MAR | [5 empty] | 8 | 88.4211 | 55 | 475 | [5 empty] | 8 | 9 | 75.7868 | 83.2907 | 88.4211
|  |  | 8 week MAR | 8 | 75.7868 | [7 empty] | 8 |  |  |  | 75.7868
| 9 | 78.3046 | 9 week MAR | [5 empty] | 9 | 83.3684 | 79 | 475 | [5 empty] | 9 | 7 | 76.4061 | 89.2377 | 83.3684
|  |  | 9 week MAR | 9 | 76.4061 | [7 empty] | 9 |  |  |  | 76.4061
| 10 | 84.2944 | 10 week MAR | [5 empty] | 10 | 85.7916 | 210 | 1478 | [5 empty] | 10 | 8 | 79.5431 | 87.9821 | 85.7916
|  |  | 10 week MAR | 10 | 79.5431 | [7 empty] | 10 |  |  |  | 79.5431
| 11 | 83.3706 | 11 week APR | [5 empty] | 11 | 86.7388 | 196 | 1478 | [5 empty] | 11 | 8 | 68.731 | 71.7172 | 86.7388
|  |  | 11 week APR | 11 | 68.731 | [7 empty] | 11 |  |  |  | 68.731 | [5 empty] | COMBINED CHART
| 12 | 88.0812 | 12 week APR | [5 empty] | 12 | 93.0526 | 33 | 475 | [5 empty] | 12 | 9 | 63.3198 | 95.157 | 93.0526
|  |  | 12 week APR | 12 | 63.3198 | [7 empty] | 12 |  |  |  | 63.3198
| 13 | 92.8629 | 13 week APR | [5 empty] | 13 | 83.3684 | 79 | 475 | [5 empty] | 13 | 9 | 81.2893 | 94.0209 | 83.3684
|  |  | 13 week APR | 13 | 81.2893 | [7 empty] | 13 |  |  |  | 81.2893
| 14 |  | 14 week APR | [5 empty] | 14 | [8 empty] | 14
|  |  | 14 week APR | 14 | [8 empty] | 14
| 15 | 88.0609 | 15 week MAY | [5 empty] | 15 | 81.0526 | 90 | 475 | [5 empty] | 15 | 8 | 87.533 | 95.5755 | 81.0526
|  |  | 15 week MAY | 15 | 87.533 | [7 empty] | 15 |  |  |  | 87.533
| 16 | 89.8985 | 16 week MAY | [5 empty] | 16 | 86.7388 | 196 | 1478 | [5 empty] | 16 | 8 | 81.0355 | 97.0105 | 86.7388
|  |  | 16 week MAY | 16 | 81.0355 | [7 empty] | 16 |  |  |  | 81.0355
| 17 | 91.6244 | 17 week MAY | [5 empty] | 17 | 92.9635 | 104 | 1478 | [5 empty] | 17 | 8 | 81.8782 | 95.4559 | 92.9635
|  |  | 17 week MAY | 17 | 81.8782 | [7 empty] | 17 |  |  |  | 81.8782
| 18 | 92.802 | 18 week MAY | [5 empty] | 18 | 89.4737 | 50 | 475 | [5 empty] | 18 | 6 | 85.066 | 96.6517 | 89.4737
|  |  | 18 week MAY | 18 | 85.066 | [7 empty] | 18 |  |  |  | 85.066
|  |  | WEEKS | COD%
|  |  | 7 | 66.4469
|  |  | 14 | 70.8147
|  |  | 21 | 82.2674
|  |  | 28 | 64.6958
|  |  | 35 | 64.2132
|  |  | 42 | 49.7868
|  |  | 49 | 68.5685
|  |  | 56 | 75.7868
|  |  | 63 | 76.4061
|  |  | 70 | 79.5431
|  |  | 77 | 68.731
|  |  | 84 | 63.3198
|  |  | 91 | 81.2893
98
|  |  | 105 | 87.533
|  |  | 112 | 81.0355
|  |  | 119 | 81.8782
|  |  | 126 | 85.066

## SGBR
Sampling Point | Sampled Date | Alkalinity (mg/L) | BOD (mg/L) | COD (mg/L) | Fats (mg/L) | Suspended Solids 105 C (mg/L) | Total Dissolved Solids (mg/L)
CPUT_RAW_POULTRY_EFF | 2020-01-30 13:06 | 488 | - | 2447 | 24 | 280 | 883
CPUT_BIOERG_SGBR | 2020-01-17 12:00 | 971 | - | 1031 | 9 | 56 | 1006 |  |  | Overall Removal SGBR
[10 empty] | Raw PSW feed | SGBR Out-put | Efficiency
CPUT_BIOERG_SGBR | 2020-01-24 12:00 | 940 | - | 450 | 26 | 58 | 884 |  | COD | 5463 | 1374.33 | 74.8429
[9 empty] | TSS | 1053.75 | 189.18 | 82.047
CPUT_BIOERG_SGBR | 2020-01-31 12:00 | 940 | - | 358 | 8 | 42 | 834 |  | PH | 6.78
[9 empty] | Temperature | 37.6
CPUT_BIOERG_SGBR | 2020-02-01 12:00 | 812 | - | 1374 | 11 | 13 | 870
Overall Removal EGSB
CPUT_BIOERG_SGBR | 2020-01-31 12:00 | 490 | - | 1174 | 25 | 162 | 1140 |  |  | Raw PSW feed | SGBR Out-put | Efficiency
[9 empty] | COD | 5463 | 1374.33 | 74.8429
CPUT_BIOERG_SGBR | 2020-02-05 12:00 | 965 | - | 1176 | 17 | 148 | 956 |  | TSS | 1053.75 | 189.18 | 82.047
[9 empty] | PH | 6.78
CPUT_BIOERG_SGBR | 2020-02-11 12:07 | 702 | 875 | 1739 | 8 | 88 | 1132 |  | Temperature | 37.6
CPUT_BIOERG_SGBR | 2020-02-18 12:07 | 789 | 1875 | 3080 | 258 | 700 | 1098
CPUT_BIOERG_SGBR | 2020-02-28 12:00 | 488 | - | 2463 | 84 | 258 | 1268
CPUT RAW | 2020-03-02 12:00 | 479 | 7000 | 9850 | 1478 | 2650 | 1528
CPUT_BIOERG_SGBR | 2020-03-06 12:00 | 666 | 1125 | 1510 | 39 | 196 | 1096
CPUT_RAW_POULTRY_EFF | 2020-03-16 12:00 | 1019 | 2500 | 4092 | 16 | 125 | 2690
CPUT_BIOERG_SGBR | 2020-03-20 08:00 | 824 | 1500 | 2137 | 37 | 360 | 1132
CPUT_BIOERG_SND_EGSB | 2020-03-18 08:00 | 105 | 250 | 781 | 2 | 56 | 676
CPUT_BIOERG_SND_SGBR | 2020-03-18 08:00 | 124 | - | 282 | 23 | 48 | 404
[5 empty] | SGBR | [7 empty] | TSS Removal efficiency |  |  |  | ORL = (COD*Q)/V (Kg COD/m3.day) | [6 empty] | TDS |  |  |  | pH and Temperature
|  | SGBR |  | WEEKS | COD% | Out-put (mg/L) | In-put (mg/L) | ORL |  |  | WEEKS | TSS% Removal efficiency | Out-put (mg/L) | In-put (mg/L) | WEEKS | COD% Removal | ORL (g COD/L.day) | HRT (hr) | ORL | g/L | ORL | g/L | WEEKS | COD% Removal | TDS In (mg/L) | TDS Out (mg/L) | WEEKS | pH | Temp 0C | WEEKS | VFA/Alkalinity | Alkalinity (mg/L) | VFA (mg/L)
| DAYS | COD% |  | 1 | 79.2482 | 1031 | 4968.25 | 9.7264 |  |  | 1 | 92.2222 | 56 | 720 | 1 | 79.2482 | 5.5674 | 106 | 1667 | 1.667 | 9.0018 | 1.031 | 1 | 79.2482 | 1006 | 1106 | 1 | 7.03 | 37.3 | 1 | 0.18023 | 971 | 175
| 7 | 79.2482
|  |  |  | 2 | 90.9425 | 450 | 4968.25 | 4.2453 |  |  | 2 | 91.9444 | 58 | 720 | 2 | 90.9425 | 2.43 | 106 | 1450 | 1.45 | 7.83 | 0.45 | 2 | 90.9425 | 1078 | 884 | 2 | 6.9 | 37.6 | 2 | 0.18 | 940 | 169.2
| 14 | 90.9425
|  |  |  | 3 | 92.7942 | 358 | 4968.25 | 3.3774 |  |  | 3 | 93.8235 | 42 | 680 | 3 | 92.7942 | 1.9332 | 106 | 881 | 0.881 | 4.7574 | 0.358 | 3 | 92.7942 | 916 | 834 | 3 | 6.6 | 37.3 | 3 | 0.1 | 940 | 94
| 21 | 92.7942
|  |  |  | 4 | 72.3444 | 1374 | 4968.25 |  |  |  | 4 | 98.0882 | 13 | 680 | 4 | 72.3444 | 7.4196 | 106 | 1754 | 1.754 | 9.4716 | 1.374 | 4 | 72.3444 | 950 | 870 | 4 | 6.73 | 37.4 | 4 | 0.15025 | 812 | 122
| 28 | 72.3444
|  |  |  | 5 | 82.3452 | 1739 | 9850 |  |  |  | 5 | 90.6383 | 88 | 940 | 5 | 82.3452 | 9.3906 | 106 | 3525 | 3.525 | 19.035 | 1.739 | 5 | 82.3452 | 1268 | 1132 | 5 | 6.59 | 37.6 | 5 | 0.25 | 702 | 175.5
| 35 | 82.3452
|  |  |  | 6 | 68.731 | 3080 | 9850 |  |  |  | 6 | 79.0732 | 700 | 3345 | 6 | 68.731 | 16.632 | 106 | 4946 | 4.946 | 26.7084 | 3.08 | 6 | 68.731 | 1422 | 1098 | 6 | 6.6 | 37.6 | 6 | 0.23 | 789 | 181.47
| 42 | 68.731
|  |  |  | 7 | 74.9949 | 2463 | 9850 |  |  |  | 7 | 92.287 | 258 | 3345 | 7 | 74.9949 | 13.3002 | 106 | 3096 | 3.096 | 16.7184 | 2.463 | 7 | 74.9949 | 1340 | 1268 | 7 | 6.87 | 37.9 | 7 | 0.12 | 773 | 92.76
| 49 | 74.9949
|  |  |  | 8 | 84.6701 | 1510 | 9850 |  |  |  | 8 | 83.2907 | 196 | 1173 | 8 | 84.6701 | 8.154 | 106 | 2385 | 2.385 | 12.879 | 1.51 | 8 | 84.6701 | 1212 | 1096 | 8 | 6.64 | 37.6 | 8 | 0.2 | 801 | 160.2
| 56 | 84.6701
|  |  |  | 9 | 78.3046 | 2137 | 9850 |  |  |  | 9 | 89.2377 | 360 | 3345 | 9 | 78.3046 | 11.5398 | 106 | 2324 | 2.324 | 12.5496 | 2.137 | 9 | 78.3046 | 1156 | 1132 | 9 | 6.81 | 37.4 | 9 | 0.19 | 993 | 188.67
| 63 | 78.3046
|  |  |  | 10 | 84.2944 | 1547 | 9850 |  |  |  | 10 | 87.9821 | 402 | 3345 | 10 | 84.2944 | 8.3538 | 106 | 2015 | 2.015 | 10.881 | 1.547 | 10 | 84.2944 | 1054 | 809 | 10 | 6.78 | 37.8 | 10 | 0.19 | 824 | 156.56
| 70 | 84.2944
|  |  |  | 11 | 83.3706 | 1638 | 9850 |  |  |  | 11 | 71.7172 | 56 | 198 | 11 | 83.3706 | 8.8452 | 106 | 3080 | 3.08 | 16.632 | 1.638 | 11 | 83.3706 | 730 | 698 | 11 | 7.01 | 37.7 | 11 | 0.22 | 944 | 207.68
| 77 | 83.3706
|  |  |  | 12 | 88.0812 | 1174 | 9850 |  |  |  | 12 | 95.157 | 162 | 3345 | 12 | 88.0812 | 6.3396 | 106 | 3613 | 3.613 | 19.5102 | 1.174 | 12 | 88.0812 | 1226 | 1140 | 12 | 6.98 | 37.4 | 12 | 0.17 | 911 | 154.87
| 84 | 88.0812
|  |  |  | 13 | 92.8629 | 703 | 9850 |  |  |  | 13 | 94.0209 | 200 | 3345 | 13 | 92.8629 | 3.7962 | 106 | 1843 | 1.843 | 9.9522 | 0.703 | 13 | 92.8629 | 982 | 511 | 13 | 6.98 | 37.4 | 13 | 0.24 | 857 | 205.68
| 91 | 92.8629
|  |  |  | 14 | [6 empty] | 14 |  |  |  | 14 |  |  | 106 |  |  |  |  | 14 |  |  |  | 14 |  |  | 14
98
|  |  |  | 15 | 88.0609 | 17 | 9850 |  |  |  | 15 | 95.5755 | 184 | 3345 | 15 | 88.0609 | 0.0918 | 106 | 1228 | 1.228 | 6.6312 | 0.017 | 15 | 88.0609 | 956 | 858 | 15 | 6.67 | 37.9 | 15 | 0.17 | 965 | 164.05
| 105 | 88.0609
|  |  |  | 16 | 89.8985 | 56 | 9850 |  |  |  | 16 | 97.0105 | 100 | 3345 | 16 | 89.8985 | 0.3024 | 106 | 1868 | 1.868 | 10.0872 | 0.056 | 16 | 89.8985 | 1137 | 956 | 16 | 6.84 | 37.7 | 16 | 0.15 | 974 | 146.1
| 112 | 89.8985
|  |  |  | 17 | 91.6244 | 52 | 9850 | 0.49057 |  |  | 17 | 95.4559 | 152 | 3345 | 17 | 91.6244 | 0.2808 | 106 | 1785 | 1.785 | 9.639 | 0.052 | 17 | 91.6244 | 888 | 633 | 17 | 7.02 | 37.8 | 17 | 0.14 | 1048 | 146.72
| 119 | 91.6244
AVG COD |  |  |  | 18 | 92.802 | 49 | 9850 | 0.46226 |  |  | 18 | 96.6517 | 112 | 3345 | 18 | 92.802 | 0.2646 | 106 | 1471 | 1.471 | 7.9434 | 0.049 | 18 | 92.802 | 554 | 499 | 18 | 7.04 | 37.8 | 18 | 0.15 | 854 | 128.1
79.7428 | 126 | 92.802
[25 empty] | 554 | 499

## Sheet1
Sampling Point | Week | Sampled Date | Alkalinity (mg/L) | COD (mg/L) | Fats (mg/L) | Suspended Solids 105 C (mg/L) | Total Dissolved Solids (mg/L) | Week | TDS In (mg/L) | TDS Out (mg/L)
CPUT_RAW_POULTRY_EFF | Week 1 | 43829.5 | 488 | 2447 | 24 | 280 |  | Week 1 | 1006 | 1106
CPUT_BIOERG_EGSB |  | 43829.5 | 988 | 1223 | 22 | 476
CPUT_BIOERG_SGBR |  | 43829.5 | 971 | 1031 | 9 | 56 | 1106
CPUT_BIOERG_PRETREAT |  | 43825.5 | 832 | 1667 | 16 | 720 | 1006
CPUT_BIOERG_EGSB | Week 2 | 43836.5 | 965 | 809 | 104 | 176 |  | Week 2 | 1078 | 884
CPUT_BIOERG_SGBR |  | 43836.5 | 940 | 450 | 27 | 58 | 884
CPUT_BIOERG_PRETREAT |  | 43838.5 | 882 | 1450 | 26 | 80 | 1078
CPUT_BIOERG_EGSB | Week 3 | 43843.5 | 939 | 395 | 4 | 14 |  | Week 3 | 916 | 834
CPUT_BIOERG_SGBR |  | 43843.5 | 940 | 358 | 27 | 42 | 834
CPUT_BIOERG_PRETREAT |  | 43843.5 | 869 | 881 | 8 | 184 | 916
CPUT_BIOERG_EGSB | Week 4 | 43850.5 | 749 | 961 | 5 | 100 |  | Week 4 | 950 | 870
CPUT_BIOERG_SGBR |  | 43850.5 | 812 | 1754 | 357 | 680 | 870
CPUT_BIOERG_PRETREAT |  | 43847.5 | 496 | 1374 | 11 | 13 | 950
CPUT_BIOERG_PRETREAT | Week 5 | 43861.5 | 462 | 1174 | 25 | 348 | 1226 | Week 5 | 1226 | 1140
CPUT_BIOERG_SGBR |  | 43861.5 | 490 | 3613 | 33 | 162 | 1140
CPUT_BIOERG_EGSB |  | 43861.5 | 492 | 3452 | 5 | 150
CPUT_BIOERG_PRETREAT | Week 6 | 43866.5 | 816 | 1176 | 17 | 292 | 982 | Week 6 | 982 | 956
CPUT_BIOERG_SGBR |  | 43868.5 | 965 | 1843 | 79 | 148 | 956
CPUT_BIOERG_EGSB |  | 43868.5 | 926 | 1988 | 31 | 126

## Sheet2
SGBR Volume (L) | 2 |  | SGBR feed flow rates (L/h) | Low | Medium | High
0.37
|  |  | 1 ppm = | 0.67 | x EC mS/cm
|  | Week 1 (26/12/2019 to 30/12/2019) |  |  |  |  | Week 2 (10/02/2020 to 14/02/2020) |  |  |  |  | Week 3 (17/02/2020 to 21/02/2020) |  |  |  |  | Week 4 (20/02/2020 to 31/01/2020) |  |  |  |  | Week 5
|  | Monday Sample | Wednesday Sample | Friday Sample | Average | Rep Sample | Monday Sample | Wednesday Sample | Friday Sample | Average | Rep Sample | Monday Sample | Wednesday Sample | Friday Sample | Average | Rep Sample | Monday Sample | Wednesday Sample | Friday Sample | Average | Rep Sample | Monday Sample | Wednesday Sample | Friday Sample | Average | Rep Sample
Name of sampler:
Parameter | Unit | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product | Product
Q | L/h | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38
OLR | mg COD/L.h | 0 | 0 | 0 | 0 | 308.395 | 0 | 0 | 0 | 0 | 268.25 | 0 | 0 | 0 | 0 | 162.985 | 0 | 0 | 0 | 0 | 254.19 | 0 | 0 | 0 | 0 | 217.19
HRT | h | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054 | 5.4054
pH | - | [5 empty] | 7.03 | 6.9 | 6.6 |  |  | 6.73 | 6.59 | 6.6 |  |  | 6.84 | 6.8 | 6.78 |  |  |  | 6.81 | 6.83
EC | mS/cm | 0 | 0 | 0 | 0 | 1650.7463 | 2298.5075 | 2253.7313 | 0 | 0 | 1319.403 | 2313.4328 | 2477.6119 | 2388.0597 | 0 | 1244.7761 | 0 | 0 | 0 | 0 | 1298.5075 | 0 | 0 | 0 | 0 | 1701.4925
ORP | mV | [5 empty] | -5 | 5 | 22 |  |  | 22 | 29 | 31
Temp | degC
TSS | mg/L |  |  |  |  | 56 |  |  |  |  | 58 |  |  |  |  | 42 |  |  |  |  | 680 |  |  |  |  | 162
TDS | ppm |  |  |  |  | 1106 | 1540 | 1510 |  |  | 884 | 1550 | 1660 | 1600 |  | 834 |  |  |  |  | 870 |  |  |  |  | 1140
VSS | mg/L
*NH4+ -N | mg/L
NO2- | mg/L
*NO3+ -N | mg/L
TKN | mg/L
*PO43- -P | mg/L
*VFA | mg/L
Alkalinity | mg/L |  |  |  |  | 971 |  |  |  |  | 940 |  |  |  |  | 940 |  |  |  |  | 812 |  |  |  |  | 490
BOD | mg/L
COD | mg/L |  |  |  |  | 1031 |  |  |  |  | 450 |  |  |  |  | 358 |  |  |  |  | 1754 |  |  |  |  | 3613
*FOG | mg/L |  |  |  |  | 9 |  |  |  |  | 27 |  |  |  |  | 27 |  |  |  |  | 357 |  |  |  |  | 33
*DO | % | [5 empty] | 3.3 | 0.6 | 2 |  |  | 2.7 | 3 | 1.7
𝑂𝐿𝑅=(𝑄_𝑓𝑒𝑒𝑑 〖𝐶𝑂𝐷〗_𝑓𝑒𝑒𝑑)/𝑉_𝑟𝑒𝑎𝑐𝑡𝑜𝑟
𝐻𝑅𝑇=𝑉_𝑟𝑒𝑎𝑐𝑡𝑜𝑟/𝑄_𝑓𝑒𝑒𝑑