## Data Description
The sheets contain data with parameters from the old and new sites as used for analysis in SPSS as decribed in the thesis

## March vs August
Sample | Year | Month | Season | Site | Ammonia | COD | BOD | DO | FOG | Nitrogen | Nitrate | TDS | TSS | T Phosphorus | pH | F.Coliform
1 | 2011 | April | Autumn | Old_DAF | 180 | 4280 | 4000 | 0.15 | 0.1 | 300 | 0.5 | 34904 | 1875 | 40 | 7.5 | 460
2 | 2011 | April | Autumn | Old_DAF | 125 | 764 | 4550 | 0.3 | 0.1 | 150 | 0.5 | 34200 | 3240 | 21.5 | 7 | 1100
3 | 2011 | April | Autumn | Old_DAF | 164 | 247 | 2050 | 0.44 | 0.1 | 45.7 | 0.5 | 34360 | 3156 | 16.3 | 6.3 | 1100
4 | 2011 | May | Autumn | Old_DAF | 136 | 480 | 3000 | 1.3 | 0.1 | 225 | 0.5 | 35300 | 3220 | 19 | 7.5 | 110
5 | 2011 | June | Winter | Old_DAF | 165 | 202 | 150 | 0.25 | 0.1 | 0.3 | 0.5 | 33200 | 121 | 18.5 | 6.4 | 1100
6 | 2011 | July | Winter | Old_DAF | 6.2 | 2880 | 3600 | 0.55 | 0.1 | 0 | 0.5 | 34479 | 2580 | 18.7 | 6.9 | 110
7 | 2011 | August | Winter | Old_DAF | 0.25 | 250 | 210 | 0.2 | 0.1 | 48 | 0.1 | 32199 | 270 | 15.5 | 6.1 | 1100
8 | 2011 | August | Winter | Old_DAF | 0.05 | 208 | 340 | 0.6 | 0.1 | 10 | 0.5 | 25667 | 110 | 0.05 | 6.5 | 1100
9 | 2011 | August | Winter | Old_DAF | 0.5 | 450 | 350 | 0.2 | 0.01 | 50 | 0.05 | 35600 | 235 | 10.5 | 6.3 | 1100
10 | 2011 | August | Winter | Old_DAF | 150 | 355 | 410 | 0.2 | 0.1 | 18.2 | 0.5 | 36400 | 430 | 20.2 | 6.3 | 1100
11 | 2012 | March | Autumn | Old_DAF | 0.03 | 530 | 800 | 1.7 | 0.1 | 137 | 0.5 | 38100 | 355 | 2.3 | 6.4 | 1000
12 | 2012 | April | Autumn | Old_DAF | 0.45 | 403 | 250 | 0.65 | 0.1 | 1.5 | 0.5 | 39370 | 3321 | 10.5 | 6.3 | 1100
13 | 2012 | June | Winter | Old_DAF | 0 | 800 | 490 | 0.54 | 0.1 | 76 | 0.5 | 31860 | 252 | 22.8 | 6.5 | 1100
14 | 2013 | May | Autumn | Old_DAF | 0.53 | 1100 | 245 | 0.14 | 0.1 | 42.6 | 0.5 | 32697 | 282 | 1.34 | 6.5 | 1100
15 | 2013 | May | Autumn | Old_DAF | 0.13 | 60 | 2 | 0.63 | 0 | 5.8 | 5.3 | 866 | 7 | 2.3 | 7.3 | 1100
16 | 2013 | July | Winter | Old_DAF | 0.08 | 920 | 450 | 0.33 | 0.1 | 0.1 | 0.5 | 34208 | 345 | 17.9 | 6.4 | 1100
17 | 2014 | April | Autumn | Old_DAF | 0 | 110 | 210 | 1 | 0.1 | 18 | 0.5 | 35500 | 112 | 0.1 | 7.7 | 1100
18 | 2014 | May | Autumn | Old_DAF | 0.23 | 164 | 210 | 0.89 | 0.01 | 17.2 | 0.5 | 36169 | 316 | 1 | 6.3 | 1100
19 | 2014 | July | Winter | Old_DAF | 3 | 6260 | 800 | 1.1 | 0.1 | 0.7 | 0.5 | 33274 | 2756 | 56 | 6.3 | 1100
20 | 2015 | May | Autumn | Old_DAF | 92 | 2560 | 480 | 0 | 0.1 | 110 | 0.5 | 35025 | 285 | 17.6 | 6.5 | 1100
21 | 2015 | June | Winter | Old_DAF | 0 | 1020 | 1020 | 1.2 | 0 | 9 | 0.5 | 32532 | 835 | 2.3 | 5.9 | 1100
22 | 2016 | March | Autumn | Old_DAF | 121 | 620 | 800 | 1.9 | 0.1 | 138 | 0.5 | 32549 | 767 | 41 | 6.4 | 1100
23 | 2016 | March | Autumn | Old_DAF | 130 | 1340 | 800 | 1.5 | 0.1 | 174 | 0.5 | 33785 | 678 | 24.1 | 6.5 | 1100
24 | 2011 | April | Autumn | Old_CT | 0 | 37.4 | 6 | 3.64 | 0.1 | 0.8 | 0.5 | 37046 | 32 | 0.05 | 7.7 | 1100
25 | 2011 | April | Autumn | Old_CT | 0.02 | 1450 | 15 | 0.45 | 0.1 | 1.8 | 0.5 | 35640 | 7.9 | 0.26 | 6 | 113
26 | 2011 | April | Autumn | Old_CT | 2.6 | 20 | 3 | 0.5 | 0.1 | 5 | 0.5 | 32980 | 11 | 0.35 | 6 | 1100
27 | 2011 | May | Autumn | Old_CT | 1.5 | 106 | 1 | 0.2 | 0.1 | 0.9 | 0.5 | 34560 | 5 | 0.1 | 7.3 | 110
28 | 2011 | June | Winter | Old_CT | 0.62 | 30.1 | 30 | 1.6 | 0.1 | 1.7 | 0.5 | 32780 | 7.3 | 0.25 | 6.4 | 1100
29 | 2011 | July | Winter | Old_CT | 0.76 | 200 | 6 | 2.1 | 0.1 | 10.4 | 0.5 | 34220 | 2 | 0.17 | 7.8 | 110
30 | 2011 | August | Winter | Old_CT | 0.1 | 234 | 19 | 4.3 | 0.1 | 2.7 | 0.5 | 39890 | 7 | 0.21 | 7 | 110
31 | 2011 | August | Winter | Old_CT | 0.1 | 1570 | 26 | 0.5 | 1.56 | 0.4 | 0.5 | 38760 | 34 | 0.03 | 6.8 | 1100
32 | 2012 | March | Autumn | Old_CT | 1.9 | 1380 | 45 | 0.84 | 0.1 | 56 | 0.5 | 38620 | 46 | 0.44 | 5.2 | 110
33 | 2012 | March | Autumn | Old_CT | 0.25 | 209 | 2 | 0.22 | 0.1 | 0.8 | 0.5 | 37690 | 9.2 | 0.2 | 6.3 | 105
34 | 2012 | April | Autumn | Old_CT | 0.5 | 54.3 | 24 | 2.3 | 0.1 | 2 | 0.5 | 37450 | 8 | 0.54 | 7 | 113
35 | 2012 | June | Winter | Old_CT | 1.9 | 2920 | 3 | 2.4 | 0.1 | 4 | 0.5 | 35448 | 10 | 0.11 | 7.4 | 1100
36 | 2013 | May | Winter | Old_CT | 0.1 | 300 | 14 | 0.88 | 0.1 | 1.7 | 0.5 | 34469 | 6 | 0.09 | 6.9 | 100
37 | 2013 | May | Winter | Old_CT | 0.3 | 216 | 6 | 0.6 | 0.1 | 1.8 | 0.5 | 38650 | 7 | 0.24 | 7.3 | 115
38 | 2013 | July | Winter | Old_CT | 0.21 | 320 | 2 | 0.89 | 0.1 | 1.1 | 0.5 | 37875 | 6 | 0.31 | 7.4 | 110
39 | 2014 | August | Winter | Old_CT | 0.2 | 15.4 | 1 | 4.3 | 0.1 | 11.9 | 13.6 | 21653 | 1.8 | 0.67 | 8.9 | 110
40 | 2014 | April | Autumn | Old_CT | 0.01 | 204 | 6 | 1.7 | 0.1 | 0.8 | 0.5 | 38458 | 6 | 0.1 | 7.9 | 110
41 | 2014 | May | Autumn | Old_CT | 0.01 | 116 | 2 | 2.3 | 0.1 | 1.1 | 0.5 | 38123 | 7 | 0.12 | 7.5 | 113
42 | 2014 | July | Winter | Old_CT | 2.6 | 92 | 29 | 0.47 | 0.1 | 2.1 | 0.5 | 38033 | 8.4 | 0.45 | 7.3 | 100
43 | 2014 | August | Winter | Old_CT | 0.47 | 110 | 7 | 0.21 | 0.1 | 0.9 | 0.5 | 37707 | 20.6 | 0.11 | 7.1 | 1100
44 | 2015 | May | Autumn | Old_CT | 32.9 | 650 | 43 | 1.4 | 0.1 | 34 | 0.5 | 36327 | 141 | 0.38 | 7.3 | 110
45 | 2015 | June | Winter | Old_CT | 0.62 | 88 | 3 | 0.52 | 0.1 | 1.2 | 0.5 | 38194 | 15.6 | 0.33 | 7.6 | 110
46 | 2015 | August | Winter | Old_CT | 116 | 980 | 440 | 0.22 | 0.1 | 116 | 0.5 | 36604 | 47 | 0.57 | 6.5 | 110
47 | 2015 | August | Winter | Old_CT | 0.35 | 23 | 2 | 0.53 | 0.1 | 10.7 | 0.5 | 34520 | 13.2 | 0.4 | 7.1 | 110
48 | 2016 | March | Autumn | Old_CT | 0.56 | 62 | 3 | 3.7 | 0.1 | 1.2 | 0.5 | 37857 | 2.6 | 0.3 | 7.2 | 1100
49 | 2016 | March | Autumn | Old_CT | 0.08 | 56 | 3 | 2.3 | 0.1 | 1.1 | 0.5 | 38090 | 5.2 | 0.32 | 7.4 | 110
50 | 2016 | March | Autumn | Old_CT | 0.06 | 117 | 2 | 0.3 | 0.1 | 1.2 | 0.5 | 32560 | 8 | 0.4 | 7 | 110
51 | 2011 | April | Autumn | Old_BW | 0 | 37.4 | 6 | 3.64 | 0.1 | 0.8 | 0.5 | 37046 | 32 | 0.05 | 7.7 | 1100
52 | 2011 | April | Autumn | Old_BW | 0 | 27 | 9 | 2 | 0.1 | 1.7 | 0.5 | 35580 | 74 | 1.4 | 7.3 | 113
53 | 2011 | April | Autumn | Old_BW | 0.02 | 265 | 0.22 | 0.32 | 0.1 | 0.3 | 0.5 | 32740 | 93 | 0.4 | 6 | 1100
54 | 2011 | May | Autumn | Old_BW | 0.01 | 176 | 1.34 | 2.3 | 0.1 | 1.9 | 0.5 | 31870 | 4.6 | 0.02 | 6 | 110
55 | 2011 | June | Winter | Old_BW | 0.09 | 2540 | 27 | 5.2 | 0.1 | 1.4 | 0.5 | 37630 | 5.3 | 0.21 | 6.5 | 1100
56 | 2011 | July | Winter | Old_BW | 0.1 | 56 | 2 | 0.74 | 0.1 | 0.4 | 0.5 | 38753 | 90 | 0.7 | 6.4 | 110
57 | 2011 | August | Winter | Old_BW | 0.48 | 79 | 8 | 0.3 | 0.1 | 15 | 0.5 | 39702 | 134 | 0.4 | 6 | 110
58 | 2011 | August | Winter | Old_BW | 0.8 | 16 | 31 | 2.7 | 0.1 | 23.3 | 0.5 | 36407 | 29 | 0.3 | 7.3 | 1100
59 | 2011 | August | Winter | Old_BW | 2.5 | 130 | 103 | 1.15 | 0.1 | 0.2 | 0.5 | 32074 | 267 | 0.85 | 6.5 | 1100
60 | 2011 | August | Winter | Old_BW | 0.21 | 219 | 29 | 0.8 | 0.1 | 1.4 | 0.5 | 33910 | 2.2 | 0.42 | 6.4 | 110
61 | 2012 | March | Autumn | Old_BW | 0.6 | 346 | 4 | 0.7 | 0.1 | 2.3 | 0.5 | 32910 | 10 | 0.45 | 7.5 | 110
62 | 2012 | March | Autumn | Old_BW | 2.9 | 850 | 1 | 6.8 | 0.1 | 3.8 | 0.5 | 39920 | 32 | 0.07 | 7.3 | 105
63 | 2012 | April | Autumn | Old_BW | 0.87 | 54 | 4 | 0.4 | 0.1 | 1 | 0.5 | 31970 | 8.2 | 0.05 | 7.3 | 113
64 | 2012 | June | Winter | Old_BW | 0.01 | 1680 | 3 | 0.55 | 0.1 | 1.1 | 0.5 | 35610 | 17 | 0.06 | 7.3 | 1100
65 | 2013 | May | Autumn | Old_BW | 0.04 | 340 | 9 | 1.11 | 0.1 | 1.3 | 0.5 | 34057 | 19 | 0.05 | 7 | 110
66 | 2013 | May | Autumn | Old_BW | 1.6 | 275 | 2 | 0.25 | 0.1 | 2.2 | 0.5 | 32050 | 4.2 | 0.1 | 7.4 | 110
67 | 2013 | July | Winter | Old_BW | 0.6 | 340 | 30 | 0.21 | 0.1 | 0.6 | 0.5 | 37509 | 180 | 0.41 | 7 | 100
68 | 2014 | March | Autumn | Old_BW | 0 | 134 | 1 | 3 | 0.1 | 0.3 | 0.5 | 38107 | 3.4 | 0.01 | 7.4 | 110
69 | 2014 | April | Autumn | Old_BW | 0.9 | 36 | 8 | 1.6 | 0.1 | 26.3 | 0.5 | 38278 | 15.2 | 0.1 | 8 | 110
70 | 2014 | May | Autumn | Old_BW | 0 | 140 | 2 | 2.3 | 0.1 | 1 | 0.5 | 38242 | 12.2 | 0.15 | 7.4 | 110
71 | 2014 | July | Winter | Old_BW | 0.47 | 200 | 35 | 0.63 | 0.1 | 3.2 | 0.5 | 37932 | 12.2 | 0.5 | 7.4 | 110
72 | 2014 | August | Winter | Old_BW | 28.1 | 880 | 1300 | 0.22 | 0.1 | 0.9 | 0.5 | 35381 | 581 | 5.4 | 6.1 | 1100
73 | 2015 | May | Autumn | Old_BW | 2.8 | 1340 | 5 | 0 | 0.1 | 2.8 | 0.5 | 38844 | 15.2 | 0.36 | 7.2 | 110
74 | 2015 | June | Winter | Old_BW | 0 | 324 | 18 | 2.5 | 0.1 | 2.5 | 0.5 | 38646 | 150 | 0.08 | 7.1 | 1100
75 | 2015 | August | Winter | Old_BW | 4.1 | 870 | 7 | 1.2 | 0.1 | 4 | 0.5 | 38009 | 104 | 0.26 | 7.2 | 110
76 | 2015 | Winter | Winter | Old_BW | 0.7 | 228 | 3 | 0.64 | 0.1 | 0.7 | 0.5 | 37984 | 22 | 1 | 7.6 | 115
77 | 2016 | March | Autumn | Old_BW | 0.78 | 220 | 8 | 0.61 | 0.1 | 1 | 0.5 | 38940 | 18 | 1.11 | 7.3 | 1100
78 | 2016 | March | Autumn | Old_BW | 0.34 | 90 | 1 | 3.8 | 0.1 | 0.8 | 0.5 | 38623 | 12.8 | 0.21 | 7.1 | 1100
79 | 2016 | March | Autumn | Old_BW | 0.3 | 58 | 4 | 6.8 | 0.1 | 1.1 | 0.5 | 38154 | 6.8 | 0.3 | 7.2 | 110
80 | 2016 | April | Autumn | New_DAF | 78 | 122 | 540 | 1.2 | 0.1 | 85 | 0.5 | 33001 | 200 | 6.5 | 6.6 | 1100
81 | 2016 | July | Winter | New_DAF | 86.6 | 2840 | 402 | 1.8 | 0.1 | 130 | 0.5 | 31918 | 967 | 9.8 | 6.6 | 1100
82 | 2017 | March | Autumn | New_DAF | 131 | 9460 | 800 | 0.36 | 2.1 | 322 | 0.5 | 33720 | 2037 | 16.7 | 6.5 | 1100
83 | 2017 | May | Autumn | New_DAF | 180 | 5610 | 2 | 0.34 | 0.06 | 280 | 14 | 34085 | 1449 | 52 | 6 | 110
84 | 2017 | June | Winter | New_DAF | 35.5 | 3567 | 350 | 1.2 | 0.6 | 93 | 0.5 | 35750 | 104 | 12.2 | 7 | 1100
85 | 2017 | June | Winter | New_DAF | 0.75 | 2450 | 5 | 1.5 | 0.1 | 75 | 0.5 | 38760 | 15 | 10.2 | 7.2 | 1100
86 | 2017 | June | Winter | New_DAF | 5.2 | 350 | 230 | 0.25 | 0.1 | 125 | 0.5 | 37580 | 340 | 2.5 | 6 | 110
87 | 2017 | June | Winter | New_DAF | 49.1 |  | 290 | 0.82 | 0.02 | 58 | 0.5 | 34704 | 268 | 3.8 | 6.5 | 1100
88 | 2017 | July | Winter | New_DAF | 125 | 3420 | 25 | 1.4 | 0.02 | 0.7 | 0.5 | 32350 | 1050 | 8.5 | 6.5 | 1100
89 | 2017 | July | Winter | New_DAF | 62.4 | 2460 | 420 | 0.45 | 0.01 | 3.5 | 0.5 | 35280 | 58 | 7.5 | 7 | 1100
90 | 2017 | July | Winter | New_DAF | 92 | 870 | 20 | 1.6 | 0.1 | 37 | 0.5 | 35540 | 950 | 6.4 | 6.5 | 1100
91 | 2017 | July | Winter | New_DAF | 83 | 5640 | 15 | 4.5 | 0.1 | 0.8 | 0.5 | 32670 | 35 | 7.3 | 6 | 110
92 | 2017 | August | Winter | New_DAF | 141 | 376 | 12 | 3.2 | 0.1 | 2.5 | 0.5 | 31450 | 205 | 12.4 | 6 | 110
93 | 2017 | August | Winter | New_DAF | 34.3 | 550 | 440 | 0.01 | 0.01 | 54 | 0.5 | 32234 | 134 | 10.3 | 6.4 | 1100
94 | 2017 | August | Winter | New_DAF | 0.8 | 85 | 6 | 0.65 | 0.1 | 5.5 | 0.5 | 32200 | 6 | 8.7 | 7.2 | 1100
95 | 2017 | August | Winter | New_DAF | 45.2 | 320 | 8 | 0.4 | 0.1 | 1.5 | 0.5 | 38760 | 84 | 2.5 | 7 | 1100
96 | 2018 | March | Autumn | New_DAF | 58 | 357 | 45 | 1.5 | 0.01 | 0.7 | 0.5 | 32420 | 43.7 | 8.7 | 7.2 | 1100
97 | 2018 | March | Autumn | New_DAF | 12.2 | 460 | 287 | 5.3 | 0.01 | 2.8 | 0.5 | 32240 | 98.8 | 8.9 | 7.5 | 1100
98 | 2018 | March | Autumn | New_DAF | 36 | 354 | 56 | 0.7 | 0.01 | 3.2 | 0.5 | 33600 | 54 | 7.8 | 7 | 110
99 | 2018 | March | Autumn | New_DAF | 3 | 75 | 4 | 8.9 | 0.01 | 1.1 | 0.5 | 35440 | 54 | 9 | 6 | 1100
100 | 2018 | April | Autumn | New_DAF | 1.75 | 36 | 55 | 0.3 | 0.1 | 0.2 | 0.5 | 31200 | 32 | 3.1 | 5.5 | 110
101 | 2018 | April | Autumn | New_DAF | 0.5 | 50 | 38 | 0.2 | 0.1 | 1.5 | 0.5 | 23520 | 7 | 1.4 | 6.5 | 110
102 | 2018 | April | Autumn | New_DAF | 0.15 | 63 | 29 | 0.1 | 0.1 | 0.54 | 0.5 | 33567 | 35 | 0.53 | 6.5 | 110
103 | 2018 | April | Autumn | New_DAF | 0.4 | 65 | 83 | 4.3 | 0.1 | 0.2 | 0.5 | 32130 | 27 | 5.7 | 5.5 | 113
104 | 2018 | May | Autumn | New_DAF | 0.16 | 31 | 94 | 3.3 | 0.1 | 2.1 | 0.5 | 32300 | 175 | 8.3 | 6 | 110
105 | 2018 | May | Autumn | New_DAF | 0.7 | 123 | 183 | 0.22 | 0.1 | 3.21 | 0.5 | 33320 | 87.3 | 1.9 | 6.5 | 110
106 | 2018 | May | Autumn | New_DAF | 1.12 | 95 | 35 | 0.3 | 1.1 | 2.3 | 0.5 | 31400 | 91 | 3.11 | 6 | 110
107 | 2018 | May | Autumn | New_DAF | 0.35 | 54 | 128 | 0.31 | 0.1 | 0.7 | 0.5 | 33240 | 55 | 2.1 | 6 | 110
108 | 2018 | June | Winter | New_DAF | 0.24 | 108 | 47 | 0.02 | 0.1 | 0.85 | 0.5 | 32170 | 113 | 9.4 | 6 | 110
109 | 2018 | June | Winter | New_DAF | 2.11 | 172 | 73 | 1.12 | 2.1 | 1.12 | 0.5 | 31290 | 4 | 5.3 | 6.5 | 110
110 | 2018 | June | Winter | New_DAF | 2.1 | 28 | 64 | 0.5 | 2.1 | 2.4 | 0.5 | 32450 | 9 | 3.4 | 7 | 110
111 | 2018 | June | Winter | New_DAF | 1.5 | 30 | 135 | 0.23 | 1.1 | 0.35 | 0.5 | 33260 | 85.5 | 8.3 | 6.5 | 110
112 | 2016 | April | Autumn | New_CT | 0.76 | 84 | 9 | 1.9 | 0.01 | 1.8 | 0.5 | 37782 | 4 | 0.22 | 7.3 | 110
113 | 2016 | July | Winter | New_CT | 0.5 | 42 | 2 | 3.3 | 0.1 | 0.5 | 0.5 | 37519 | 9.6 | 0.24 | 7.7 | 110
115 | 2017 | April | Autumn | New_CT | 0.76 | 84 | 9 | 1.9 | 0.1 | 1.8 | 0.5 | 37782 | 4 | 0.22 | 7.3 | 110
116 | 2017 | May | Autumn | New_CT | 0.03 | 38.8 | 8 | 1.7 | 3 | 1.8 | 93 | 38913 | 45 | 0.1 | 7.4 | 110
117 | 2017 | June | Winter | New_CT | 0.5 | 25 | 12 | 3.5 | 0.1 | 1.2 | 0.5 | 25380 | 5.6 | 0.25 | 7.5 | 110
118 | 2017 | June | Winter | New_CT | 0.02 | 30.2 | 2 | 1.8 | 0.1 | 0.3 | 0.5 | 37680 | 7.3 | 0.35 | 7.2 | 110
119 | 2017 | June | Winter | New_CT | 0.6 | 25 | 5 | 1.3 | 0.1 | 1.1 | 0.5 | 37650 | 5.2 | 0.01 | 6.4 | 1100
120 | 2017 | June | Winter | New_CT | 0.47 | 20 | 5 | 3.4 | 0.1 | 0.8 | 0.5 | 38942 | 18 | 0.11 | 7.3 | 110
121 | 2017 | July | Winter | New_CT | 0.02 | 26.2 | 3 | 2.3 | 0.1 | 0.2 | 0.5 | 37550 | 8.6 | 0.34 | 6.2 | 110
122 | 2017 | July | Winter | New_CT | 0.35 | 34.1 | 9 | 1.7 | 0.1 | 1.5 | 0.5 | 37680 | 6.2 | 0.3 | 6 | 110
123 | 2017 | July | Winter | New_CT | 0.4 | 65 | 7 | 1.5 | 0.1 | 1.3 | 0.5 | 38760 | 4.8 | 0.55 | 6.4 | 110
124 | 2017 | July | Winter | New_CT | 0.5 | 47.5 | 7.2 | 2.8 | 0.1 | 0.1 | 0.5 | 35850 | 2.3 | 0.23 | 7 | 110
125 | 2017 | August | Winter | New_CT | 0.04 | 40.8 | 5 | 3.1 | 0.1 | 0.7 | 0.5 | 36770 | 8 | 0.05 | 7 | 110
126 | 2017 | August | Winter | New_CT | 0.7 | 25.6 | 4 | 2.5 | 0.1 | 1.5 | 0.5 | 37560 | 5.2 | 0.35 | 6.5 | 110
127 | 2017 | August | Winter | New_CT | 0.3 | 54.3 | 9 | 2.1 | 0.01 | 0.3 | 0.5 | 37670 | 4.3 | 3.5 | 6 | 110
128 | 2017 | August | Winter | New_CT | 0.5 | 63 | 4.5 | 2.6 | 0.1 | 0.7 | 0.5 | 33450 | 5 | 0.4 | 6.5 | 110
129 | 2018 | March | Autumn | New_CT | 0.01 | 87.6 | 7 | 0 | 0.1 | 0.2 | 0.5 | 32550 | 7.5 | 0.4 | 6 | 110
130 | 2018 | March | Autumn | New_CT | 0.03 | 3.7 | 4.5 | 0 | 0.1 | 0.6 | 0.5 | 32320 | 6 | 0.3 | 7.4 | 115
131 | 2018 | March | Autumn | New_CT | 0.7 | 2.7 | 7.1 | 0 | 0.1 | 0.2 | 0.5 | 31250 | 9.7 | 0.56 | 7.3 | 110
132 | 2018 | March | Autumn | New_CT | 0.56 | 13 | 8 | 0 | 0.1 | 1.8 | 0.5 | 30540 | 8.4 | 0.5 | 6.5 | 110
133 | 2018 | April | Autumn | New_CT | 0.7 | 13 | 6.3 | 3.5 | 0.1 | 0.3 | 0.5 | 30860 | 7 | 0.3 | 6 | 110
134 | 2018 | April | Autumn | New_CT | 0.34 | 13 | 2.6 | 1 | 0.01 | 0.5 | 0.5 | 31760 | 8.2 | 0.4 | 5.5 | 110
135 | 2018 | April | Autumn | New_CT | 0.1 | 13 | 4 | 2 | 0.01 | 1.5 | 0.5 | 33540 | 10 | 0.8 | 5 | 105
136 | 2018 | April | Autumn | New_CT | 0.87 | 13 | 1.1 | 0 | 0.1 | 0.4 | 0.5 | 28950 | 5.2 | 0.65 | 6 | 115
137 | 2018 | May | Autumn | New_CT | 0.5 | 13 | 8 | 7.8 | 0.1 | 0.2 | 0.5 | 37760 | 6.9 | 0.7 | 6 | 113
138 | 2018 | May | Autumn | New_CT | 0.28 | 13 | 6.2 | 0.4 | 0.01 | 1.7 | 0.5 | 32560 | 6.6 | 0.5 | 7.5 | 115
139 | 2018 | May | Autumn | New_CT | 0.6 | 13 | 3 | 0.09 | 0.01 | 0.3 | 0.5 | 22750 | 7.1 | 0.43 | 6 | 115
140 | 2018 | May | Autumn | New_CT | 0.4 | 13 | 9.4 | 3.2 | 0.01 | 1.9 | 0.5 | 28460 | 5.4 | 0.1 | 5.4 | 115
141 | 2018 | June | Winter | New_CT | 0.21 | 13 | 3.3 | 0 | 0.1 | 1.2 | 0.5 | 32530 | 3.8 | 0.04 | 7 | 110
142 | 2018 | June | Winter | New_CT | 0.6 | 13 | 7.5 | 0 | 0.1 | 0.1 | 0.5 | 31330 | 2.5 | 0.76 | 6 | 1100
143 | 2018 | June | Winter | New_CT | 0.09 | 13 | 2 | 4.3 | 0.01 | 1.5 | 0.5 | 28790 | 1.1 | 0.8 | 7 | 115
144 | 2018 | June | Winter | New_CT | 0.45 | 13 | 3.8 | 0.79 | 0.01 | 0.3 | 0.5 | 35480 | 1.7 | 0.9 | 6.5 | 113
145 | 2017 | June | Winter | New_BW | 0.3 | 65 | 4.7 | 0.01 | 0.1 | 0.07 | 0.5 | 32780 | 4 | 0.9 | 6.4 | 110
146 | 2017 | June | Winter | New_BW | 37 | 350 | 50 | 1.7 | 0.01 | 63 | 0.5 | 34590 | 320 | 4.2 | 6.5 | 110
147 | 2017 | July | Winter | New_BW | 98 | 53 | 270 | 2.4 | 0.03 | 0.8 | 0.5 | 39820 | 990 | 5.4 | 6.5 | 110
148 | 2017 | July | Winter | New_BW | 75 | 1250 | 680 | 1.78 | 0.01 | 4.5 | 0.5 | 38990 | 69 | 6.4 | 7 | 110
149 | 2017 | July | Winter | New_BW | 160 | 980 | 20 | 270 | 0.1 | 45 | 0.5 | 36970 | 1905 | 8.7 | 6.5 | 110
150 | 2017 | July | Winter | New_BW | 90 | 3870 | 80 | 5.5 | 0.1 | 0.9 | 0.5 | 33370 | 40 | 7.3 | 6 | 110
151 | 2017 | August | Winter | New_BW | 132 | 450 | 16 | 4.7 | 0.1 | 1.6 | 0.5 | 34220 | 150 | 12 | 6 | 110
152 | 2017 | August | Winter | New_BW | 18.9 | 276 | 530 | 7.4 | 0.01 | 60 | 0.5 | 32234 | 176 | 12 | 6.4 | 1100
153 | 2017 | August | Winter | New_BW | 0.8 | 96 | 4 | 0.7 | 0.1 | 6 | 0.5 | 33000 | 9 | 9 | 7.2 | 110
154 | 2017 | August | Winter | New_BW | 50 | 127 | 5 | 0.1 | 0.1 | 5 | 0.5 | 36540 | 38 | 4 | 7 | 113
155 | 2018 | March | Autumn | New_BW | 34.5 | 132 | 59 | 0.46 | 0.1 | 5.9 | 0.5 | 32330 | 93 | 1.4 | 7 | 110
156 | 2018 | March | Autumn | New_BW | 98 | 76 | 61 | 1.5 | 0.1 | 5.2 | 0.5 | 34580 | 39 | 0.2 | 7.4 | 110
157 | 2018 | March | Autumn | New_BW | 3.7 | 23 | 147 | 6.1 | 0.1 | 2.3 | 0.5 | 32680 | 26 | 0.6 | 6 | 105
158 | 2018 | March | Autumn | New_BW | 15.5 | 47 | 130 | 3.2 | 0.1 | 64 | 0.5 | 34270 | 37 | 3.9 | 7 | 115
159 | 2018 | April | Autumn | New_BW | 65 | 145 | 37 | 0.04 | 0.02 | 2.6 | 0.5 | 29870 | 85 | 2.3 | 6 | 113
160 | 2018 | April | Autumn | New_BW | 31 | 87 | 48 | 2.3 | 0.1 | 1.2 | 0.5 | 33210 | 13 | 9.4 | 6 | 113
161 | 2018 | April | Autumn | New_BW | 18 | 37 | 29 | 5.7 | 0.1 | 3.2 | 0.5 | 31120 | 53 | 2.5 | 6 | 113
162 | 2018 | April | Autumn | New_BW | 45 | 84 | 94 | 0.3 | 0.1 | 0.01 | 0.5 | 32120 | 39 | 0.4 | 5.5 | 115
163 | 2018 | May | Autumn | New_BW | 40 | 39 | 27 | 0.04 | 0.1 | 0.1 | 0.5 | 32540 | 29 | 0.04 | 5.5 | 110
164 | 2018 | May | Autumn | New_BW | 0.3 | 46 | 15 | 0.3 | 0.1 | 0.3 | 0.5 | 31870 | 42 | 0.02 | 7.6 | 110
165 | 2018 | May | Autumn | New_BW | 6.8 | 52 | 42 | 0.54 | 0.1 | 3.8 | 0.5 | 29870 | 38 | 0.2 | 6 | 110
166 | 2018 | May | Autumn | New_BW | 5.4 | 63 | 84 | 0.55 | 0.2 | 6.2 | 0.5 | 30108 | 27 | 3.1 | 5 | 110
167 | 2018 | June | Winter | New_BW | 7.2 | 93 | 19 | 1.89 | 0.01 | 0.1 | 0.5 | 32090 | 101 | 2 | 5 | 110
168 | 2018 | June | Winter | New_BW | 5 | 103 | 21 | 2.55 | 0.1 | 0.6 | 0.5 | 31990 | 72 | 0.1 | 5 | 115
169 | 2018 | June | Winter | New_BW | 23 | 58 | 19 | 3.5 | 0.1 | 9.3 | 0.5 | 30430 | 18 | 0.06 | 7.5 | 115
170 | 2018 | June | Winter | New_BW | 56 | 78 | 63 | 2.6 | 0.1 | 0.4 | 0.5 | 30290 | 82 | 0.09 | 6 | 1100

## OLD CT TSS
Season | TSS
Autumn | 32
Autumn | 7.9
Autumn | 11
Autumn | 5
Autumn | 46
Autumn | 9.2
Autumn | 8
Autumn | 6
Autumn | 7
Autumn | 141
Autumn | 2.6
Autumn | 5.2
Winter | 7.3
Winter | 2
Winter | 7
Winter | 34
Winter | 10
Winter | 6
Winter | 7
Winter | 6
Winter | 1.8
Winter | 8.4
Winter | 20.6
Winter | 15.6
Winter | 47
Winter | 13.2
Autumn | 8

## New CT TSS
Season | TSS
Autumn | 4
Autumn | 4
Autumn | 45
Autumn | 7.5
Autumn | 6
Autumn | 9.7
Autumn | 8.4
Autumn | 7
Autumn | 8.2
Autumn | 10
Autumn | 5.2
Autumn | 6.9
Autumn | 6.6
Autumn | 7.1
Autumn | 5.4
Winter | 9.6
Winter | 5.6
Winter | 7.3
Winter | 5.2
Winter | 18
Winter | 8.6
Winter | 6.2
Winter | 4.8
Winter | 2.3
Winter | 8
Winter | 5.2
Winter | 4.3
Winter | 5
Winter | 3.8
Winter | 2.5
Winter | 1.1
Winter | 1.7

## Old CT TDS
Season | TDS
Autumn | 37046
Autumn | 35640
Autumn | 32980
Autumn | 34560
Autumn | 38620
Autumn | 37690
Autumn | 37450
Autumn | 38458
Autumn | 38123
Autumn | 36327
Autumn | 37857
Autumn | 38090
Autumn | 32560
Winter | 32780
Winter | 34220
Winter | 39890
Winter | 38760
Winter | 35448
Winter | 34469
Winter | 38650
Winter | 37875
Winter | 21653
Winter | 38033
Winter | 37707
Winter | 38194
Winter | 36604
Winter | 34520

## New CT TDS
Season | TDS
Autumn | 37782
Autumn | 37782
Autumn | 38913
Autumn | 32550
Autumn | 32320
Autumn | 31250
Autumn | 30540
Autumn | 30860
Autumn | 31760
Autumn | 33540
Autumn | 28950
Autumn | 37760
Autumn | 32560
Autumn | 22750
Autumn | 28460
Winter | 37519
Winter | 25380
Winter | 37680
Winter | 37650
Winter | 38942
Winter | 37550
Winter | 37680
Winter | 38760
Winter | 35850
Winter | 36770
Winter | 37560
Winter | 37670
Winter | 33450
Winter | 32530
Winter | 31330
Winter | 28790
Winter | 35480

## Old CT PH
Season | PH
Autumn | 7.7
Autumn | 6
Autumn | 6
Autumn | 7.3
Autumn | 5.2
Autumn | 6.3
Autumn | 7
Autumn | 7.9
Autumn | 7.5
Autumn | 7.3
Autumn | 7.2
Autumn | 7.4
Autumn | 7
Winter | 6.4
Winter | 7.8
Winter | 7
Winter | 6.8
Winter | 7.4
Winter | 6.9
Winter | 7.3
Winter | 7.4
Winter | 8.9
Winter | 7.3
Winter | 7.1
Winter | 7.6
Winter | 6.5
Winter | 7.1

## New CT PH
Season | PH
Autumn | 7.3
Autumn | 7.3
Autumn | 7.4
Autumn | 6
Autumn | 7.4
Autumn | 7.3
Autumn | 6.5
Autumn | 6
Autumn | 5.5
Autumn | 5
Autumn | 6
Autumn | 6
Autumn | 7.5
Autumn | 6
Autumn | 5.4
Winter | 7.7
Winter | 7.5
Winter | 7.2
Winter | 6.4
Winter | 7.3
Winter | 6.2
Winter | 6
Winter | 6.4
Winter | 7
Winter | 7
Winter | 6.5
Winter | 6
Winter | 6.5
Winter | 7
Winter | 6
Winter | 7
Winter | 6.5

## Old CT BOD
Season | BOD
Autumn | 6
Autumn | 15
Autumn | 3
Autumn | 1
Autumn | 45
Autumn | 2
Autumn | 24
Autumn | 6
Autumn | 2
Autumn | 43
Autumn | 3
Autumn | 3
Autumn | 2
Winter | 30
Winter | 6
Winter | 19
Winter | 26
Winter | 3
Winter | 14
Winter | 6
Winter | 2
Winter | 1
Winter | 29
Winter | 7
Winter | 3
Winter | 440
Winter | 2

## New CT BOD
Season | BOD
Autumn | 9
Autumn | 9
Autumn | 8
Autumn | 7
Autumn | 4.5
Autumn | 7.1
Autumn | 8
Autumn | 6.3
Autumn | 2.6
Autumn | 4
Autumn | 1.1
Autumn | 8
Autumn | 6.2
Autumn | 3
Autumn | 9.4
Winter | 2
Winter | 12
Winter | 2
Winter | 5
Winter | 5
Winter | 3
Winter | 9
Winter | 7
Winter | 7.2
Winter | 5
Winter | 4
Winter | 9
Winter | 4.5
Winter | 3.3
Winter | 7.5
Winter | 2
Winter | 3.8

## Old CT COD
Season | COD
Autumn | 37.4
Autumn | 1450
Autumn | 20
Autumn | 106
Autumn | 1380
Autumn | 209
Autumn | 54.3
Autumn | 204
Autumn | 116
Autumn | 650
Autumn | 62
Autumn | 56
Autumn | 117
Winter | 30.1
Winter | 200
Winter | 234
Winter | 1570
Winter | 2920
Winter | 300
Winter | 216
Winter | 320
Winter | 15.4
Winter | 92
Winter | 110
Winter | 88
Winter | 980
Winter | 23

## New CT COD
Season | COD
Autumn | 84
Autumn | 84
Autumn | 38.8
Autumn | 87.6
Autumn | 3.7
Autumn | 2.7
Autumn | 13
Autumn | 13
Autumn | 13
Autumn | 13
Autumn | 13
Autumn | 13
Autumn | 13
Autumn | 13
Autumn | 13
Winter | 42
Winter | 25
Winter | 30.2
Winter | 25
Winter | 20
Winter | 26.2
Winter | 34.1
Winter | 65
Winter | 47.5
Winter | 40.8
Winter | 25.6
Winter | 54.3
Winter | 63
Winter | 13
Winter | 13
Winter | 13
Winter | 13

## Old CT NH3
Season | NH3
Autumn | 0
Autumn | 0.02
Autumn | 2.6
Autumn | 1.5
Autumn | 1.9
Autumn | 0.25
Autumn | 0.5
Autumn | 0.01
Autumn | 0.01
Autumn | 32.9
Autumn | 0.56
Autumn | 0.08
Autumn | 0.06
Winter | 0.62
Winter | 0.76
Winter | 0.1
Winter | 0.1
Winter | 1.9
Winter | 0.1
Winter | 0.3
Winter | 0.21
Winter | 0.2
Winter | 2.6
Winter | 0.47
Winter | 0.62
Winter | 116
Winter | 0.35

## New CT NH3
Season | NH3
Autumn | 0.76
Autumn | 0.76
Autumn | 0.03
Autumn | 0.01
Autumn | 0.03
Autumn | 0.7
Autumn | 0.56
Autumn | 0.7
Autumn | 0.34
Autumn | 0.1
Autumn | 0.87
Autumn | 0.5
Autumn | 0.28
Autumn | 0.6
Autumn | 0.4
Winter | 0.5
Winter | 0.5
Winter | 0.02
Winter | 0.6
Winter | 0.47
Winter | 0.02
Winter | 0.35
Winter | 0.4
Winter | 0.5
Winter | 0.04
Winter | 0.7
Winter | 0.3
Winter | 0.5
Winter | 0.21
Winter | 0.6
Winter | 0.09
Winter | 0.45

## Old CT FC
Season | FC
Autumn | 1100
Autumn | 113
Autumn | 1100
Autumn | 110
Autumn | 110
Autumn | 105
Autumn | 113
Autumn | 110
Autumn | 113
Autumn | 110
Autumn | 1100
Autumn | 110
Autumn | 110
Winter | 1100
Winter | 110
Winter | 110
Winter | 1100
Winter | 1100
Winter | 100
Winter | 115
Winter | 110
Winter | 110
Winter | 100
Winter | 1100
Winter | 110
Winter | 110
Winter | 110

## New CT FC
Season | FC
Autumn | 110
Autumn | 110
Autumn | 110
Autumn | 110
Autumn | 115
Autumn | 110
Autumn | 110
Autumn | 110
Autumn | 110
Autumn | 105
Autumn | 115
Autumn | 113
Autumn | 115
Autumn | 115
Autumn | 115
Winter | 110
Winter | 110
Winter | 110
Winter | 1100
Winter | 110
Winter | 110
Winter | 110
Winter | 110
Winter | 110
Winter | 110
Winter | 110
Winter | 110
Winter | 110
Winter | 110
Winter | 1100
Winter | 115
Winter | 113