## Sheet1
Analyte | Unit | WT21-13222 | WT21-13223
| Sample ID | Repeat Run 1 | Repeat Run 2
Ammonia (NH3) as N | mg/L | 114 | 120
Chemical Oxygen Demand (Unfiltered) | mg/L | 1770 | 2340
Suspended Solids | mg/L | 234 | 241
Orthophosphate (PO4) as P | mg/L | 9.4 | 10.4
Fat, Oils & Grease | mg/L | 2.5 | 6.0
#N/A | #N/A | #N/A | #N/A